Prudence Safety & Environmental Consulting, LLC

Germantown, Maryland

Indoor Air Quality

Assessment Report

Site: Meridian Commerce Tower

Location: 450 Commerce Blvd, Suite 300, Hartford, CT 06103

Assessment Date: April 23, 2026

Report Date: April 23, 2026

Assessor: J. Smith, CIH, CSP

Report ID: PSEC-IAQ-2026-04-RLH

Version: 1.0  |  Status: Draft — Pending Professional Review

CONFIDENTIAL — FOR CLIENT USE ONLY

April 23, 2026

Meridian Commerce Tower

450 Commerce Blvd, Suite 300, Hartford, CT 06103

Re: Indoor Air Quality Assessment Report

Prudence Safety & Environmental Consulting, LLC ("PSEC") was retained to conduct an indoor air quality assessment at Meridian Commerce Tower. This report presents the findings, analysis, and recommendations resulting from our assessment.

The assessment was performed using direct-reading instrumentation, visual inspection, and structured data collection following our deterministic scoring methodology.

This report is intended for the sole use of the addressee and should not be distributed to third parties without written authorization from PSEC.

Please do not hesitate to contact our office should you have questions regarding this report.

Respectfully submitted,

Tsidi Tamakloe, CSP

BCSP #38426

NYSDOL Mold Assessor | NYSDOL Asbestos Inspector

Prudence Safety & Environmental Consulting, LLC

support@prudenceehs.com | 1-(301)-541-8362

## Table of Contents

1.  Executive Summary

2.  Scope and Methodology

3.  Building and Complaint Context

4.  Overall Findings Dashboard

5.  Zone-by-Zone Findings

6.  Causal Chain Analysis

7.  Recommendations Register

8.  Limitations and Professional Judgment

9.  Appendix A — Raw Measurement Snapshot

10.  Appendix B — Transparent Scoring Summary

## Executive Summary

An indoor air quality assessment was conducted at Meridian Commerce Tower on April 23, 2026, encompassing 3 zones in response to occupant complaints. The assessment included direct-reading instrument measurements, visual inspection, HVAC system evaluation, and occupant complaint documentation.

Conditions observed during the assessment window suggest moderate indoor air quality concerns. The composite score of 62/100 reflects a weighted evaluation across five categories, with Ventilation (10/25) identified as the primary area of concern.

Priority actions include: Evaluate outdoor air delivery rate and verify OA damper position. Additional engineering and administrative recommendations are detailed in the Recommendations Register.

## Scope and Methodology

Purpose: This assessment was conducted to evaluate indoor air quality conditions in response to occupant complaints at Meridian Commerce Tower.

Areas assessed: 3rd Floor Open Office, Conference Room B, Break Room.

Assessment activities: Visual inspection, real-time direct-reading instrument measurements, occupant complaint documentation, HVAC system evaluation, and moisture/mold screening.

Standards referenced per AIHA exposure assessment strategy (Ignacio & Bullock, 2015). Standards versions per embedded manifest.

## Limitations and Professional Judgment

This report represents conditions observed during a single assessment event and may not reflect all temporal, seasonal, or operational variations in indoor air quality.

This report is intended to support — not replace — professional judgment by a qualified industrial hygienist or EHS professional.

Prudence Safety & Environmental Consulting, LLC  |  Report ID: PSEC-IAQ-2026-04-RLH  |  April 23, 2026

Confidential — This report is intended for the client identified above and should not be distributed to third parties without authorization.